CATEGORY 875

UTILITIES

SECTION 875 — UTILITIES STATEMENT

875.01 DESCRIPTION

The Contractor’s attention is called to the requirements of Sections GP-5.05, GP-7.13 and

GP-7.17.

875.02 MATERIALS

875.03 CONSTRUCTION

- Locate all existing utilities and be responsible for their safety.  Exercise special care and extreme caution to protect and avoid damage to utility facilities.  Should any existing utilities be damaged or destroyed due to the operations of the Contractor, the damaged or destroyed components shall be immediately replaced or repaired as necessary to restore the utility to a satisfactory operating condition.  These repairs or replacements shall be at no additional expense to the Administration or the owner of the utility.

- The existing utilities requiring relocation or adjustment shall be relocated or adjusted by the agency responsible for their maintenance or by the owner of the utility unless otherwise indicated in the Contract Documents.  Inform the respective Utility, immediately upon discovering the condition(s).  In addition, give sufficient notice to the specific Utility of the Contractor’s overall plan for construction.  The Contractor and Utility Company will coordinate the applicable Utility work with the Contractor’s work operations based upon the Contractor’s overall plan.

875.04 MEASUREMENT AND PAYMENT

All work, methods and procedures required for utility relocations, working around or protecting utility facilities, and coordinating with utility agencies, or their contractors, will not be measured for payment.  This work will be considered incidental to the items specified in the Contract Documents.

875.04.01 Contract Provision Buy America.  This section only applies to projects partially or totally financed with Federal funds.

The prime contractor or its subcontractors shall comply with Section 313 of title 23, U.S.C., 23 CFR Part 635.410 for iron and steel products and manufactured products, and 2 CFR part 184 for construction materials.

Materials used for the utility work and permanently incorporated into the project, including all materials/items supplied by the Utility Company, shall comply with the Buy America preference requirements including:

- All iron and steel used in the project are produced in the United States.

This means all manufacturing processes, from the initial melting stage through the application of coatings, occurred in the United States.

- All manufactured products used in the project are produced in the United States.

This means the manufactured product was manufactured in the United States, and the cost of the components of the manufactured product that are mined, produced, or manufactured in the United States is greater than 55 percent of the total cost of all components of the manufactured product, unless another standard for determining the minimum amount of domestic content of the manufactured product has been established under applicable law or regulation.

In accordance with 23 CFR Part 635.410, FHWA currently has a general applicability waiver on manufactured products that do not contain steel and iron components. Therefore, this 55 percent standard for manufactured products that do not contain steel and iron components, does not apply on projects funded under Title 23 U.S.C.

Per 2 CFR part 184, items that have been processed into a specific form and shape; or combined with other articles, materials, or supplies to create a product with different properties than the individual articles, materials, or supplies, should be considered as manufactured products, rather than as construction materials.

- All construction materials are manufactured in the United States.

This means that all manufacturing processes for the construction material occurred in the United States. Common construction materials used in public works infrastructure projects are or consist primarily of non-ferrous metals, plastic and polymer-based products (including polyvinylchloride, composite building materials, and polymers used in fiber optic cables), glass (including optic glass and drop cable), lumber, engineered wood, and drywall.

The term 'construction materials' shall not include cement and cementitious materials, aggregates such as stone, sand, or gravel, or aggregate binding agents (including asphalt cement) or additives; or any material composed of or derived from these items, per Section 70917(c) of the Bipartisan Infrastructure Law (BIL).

The prime contractor or its subcontractors shall also comply with Section 165 of the Surface Transportation Assistance Act of 1982 as amended by Section 1041(a) and 1048(a) of the intermodal Surface Transportation Efficiency Act of 1991 with regard to the furnishing and coating of iron and steel products.

The prime contractor or its subcontractor shall supply certifications to the Project Engineer from the manufacturer of all costing, iron or steel products which document that the steel and iron have been manufactured and the coatings for iron or steel have been applied by the manufacturer in the United States, as well as certification documenting the construction materials are made in America. The manufacturer’s certificate must identify where the material was produced and include a statement that specifically attests that the material complies with 23 CFR 635.410 for iron and steel products; or 2 CFR 184 for manufactured products and construction materials. The Project Engineer shall forward copies of the certifications to the Office of Materials Technology for review and approval prior to such items being incorporated into the permanent work.

Products manufactured of foreign steel or iron materials may be used, provided the cost of such products as they delivered to the project does not exceed 0.1% of the total contract amount or $2,500, whichever is greater. Foreign manufactured products and construction materials may be used, provided the cost of such products as they are delivered to the project is no more than the lesser of $1,000,000, or 5% of the total contract amount. If a supplier or fabricator wishes to user a partial fabrication process where domestic and foreign source components are assembled at a domestic location, the “as delivered cost” of the foreign components should include any transportation, assembly and testing costs required to install them in the final product. When foreign products or materials are permanently incorporated into the project, the contractor must provide documentation detailing the foreign material costs and justification.

A public interest waiver from USDOT has waived Buy America requirements for projects with iron, steel, manufactured products, and construction materials, that are under a single Federal financial assistance award or subaward for which the total project amount is below $500,000.

This applies to all iron and steel products, manufactured products, and construction materials used for utility work permanently incorporated into the project including materials/items supplied by the Utility Company.