Category 875

Utilities

SECTION 875 — UTILITIES STATEMENT

875.01 DESCRIPTION

The Contractor’s attention is called to the requirements of Sections GP-5.05, GP-7.13 and

GP-7.17.

875.02 MATERIALS

Not Applicable.

875.03 CONSTRUCTION

- Attention of the Contractor is directed to the possible presence of water, sewer, gas mains, electrical wires, conduit, communications cables (both overhead and underground), poles and house service connections in the street or highway in which the construction project is to be performed.   Exercise special care and extreme caution to protect and avoid damage to utility company facilities as described in the preceding sentence.  Take into consideration the adjustments and installations by public utilities in areas within the limits of this Contract.

All notifications to the utility companies and “Miss Utility” shall be, at least, 48 hours (two full working days) in advance of working in the area of the specific affected utility. The notification to “Miss Utility” is required by the Contractor whenever any excavating or similar work is to be performed. The State Highway Administration (SHA) is now part of Miss Utility.  Please note our new notification procedures.  The contractor must provide the contract number when contacting Miss Utility for locates.  This provision is required whether the contractor contacts Miss Utility via the internet (http://www.missutility.net.itics/) or by phone [1-(800)-257-7777].  Failure of the contractor to comply with this requirement may result in a locate fee by Administration for which the contractor will not be allowed to recover.   The Contractor must also notify the Administration to locate and mark all Administration owned facilities including: street lights, sign lights, Administration Traffic Signals, Fiber Optic Cables, Communication Cables and Intelligent Transportation System (ITS) devices.  (For Administration owned facilities, see last contact(s) listed under (e).)

- Locate all existing utilities and be responsible for their safety.  Should any existing utilities be damaged or destroyed due to the operations of the Contractor, the damaged or destroyed components shall be immediately replaced or repaired as necessary to restore the utility to a satisfactory operating condition.  These repairs or replacements shall be at no additional expense to the Administration or the owner of the utility.

Prior to ordering any storm drain materials, locate and test pit any underground facilities that appear to be in conflict in order to determine if conflicts exist.  In the event that conflicts may be possible, this information shall immediately be forwarded to the State’s representative and utility owner for review and resolution.

- The existing utilities requiring relocation or adjustment shall be relocated or adjusted by the agency responsible for their maintenance or by the owner of the utility unless otherwise indicated in the Contract Documents.  Inform the respective Utility, immediately upon discovering the condition(s).  In addition,  give sufficient notice to the specific Utility of the Contractor’s overall plan for construction.  The Contractor and Utility Company will coordinate the applicable Utility work with the Contractor’s work operations based upon the Contractor’s overall plan.

- Any submittal by the Contractor to vary the sequence of work and/or perform concurrent work in multiple phased differing from the recommended maintenance of traffic phasing, must be accompanied by an updated schedule or CPM reflecting all utility relocation’s and adjustments.  Be responsible, upon gaining approval, for coordinating utility relocations and adjustments with the affected utility owners, SHA Project Engineer and the District Utility Engineer.  All requirements and lead times as stated in the Utilities Statement and Special Provisions will remain in effect unless written approval from the Utility Company and the District Utility Engineer is received by the Contractor prior to the commencing of any work, as stated in the Utilities Statement and/or Special Provisions.

- The following known utilities have facilities within the limits of this Contract.

- Baltimore Gas Electric Company-Electric.

BGE-Electric may have aerial and underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. When working in the area of aerial power lines, the Contractor(s) must comply with the H.M.L.A. (High Voltage Line Act). Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is a conflict the SHA Contractor is required to immediately notify Mr. Gilley and the SHA Project Engineer of the conflict.  It will be the responsibility of the SHA Contractor to contact Mr. Joe Regan at (410) 470-6371, 4 weeks in advance to obtain replacement manhole frames and covers. The SHA contractor is responsible to replace all damaged frames and covers. BGE will adjust or replace any manhole frames and covers larger than 26 inches, however Mr. Joe Regan will need at least 6 weeks’ notice.

Mr. Chris Gilley

(410)-470-8308

christopher.gilley@constellation.com

- Baltimore Gas Electric Company-Transmission Electric.

BGE-Transmission Electric may have aerial and underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. When working in the area of aerial power lines, the Contractor(s) must comply with the H.M.L.A. (High Voltage Line Act). Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is a conflict the SHA Contractor is required to immediately notify Mr. Garvey and the SHA Project Engineer of the conflict.  It will be the responsibility of the SHA Contractor to contact Mr. Joe Regan at (410) 470-6371, 4 weeks in advance to obtain replacement manhole frames and covers. The SHA contractor is responsible to replace all damaged frames and covers. BGE will adjust or replace any manhole frames and covers larger than 26 inches, however Mr. Joe Regan will need at least 6 weeks’ notice.

Mr. Kenneth Garvey

(410)-470-6836

kenneth.d.garvey@bge.com

- Delmarva Power.

Delmarva Power may have aerial and underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. When working in the area of aerial power lines, the Contractor(s) must comply with the H.M.L.A. (High Voltage Line Act). Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is a conflict the SHA Contractor is required to immediately notify Mr. Ouano and the SHA Project Engineer of the conflict.  The SHA contractor is responsible to replace all damaged frames and covers. Delmarva Power will adjust or replace any manhole frames and covers larger than 26 inches.

Mr. Jun Ouano

(410)-287-7176

jun.ouano@delmarva.com

- PECO Energy.

PECO Energy may have aerial and underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. When working in the area of aerial power lines, the Contractor(s) must comply with the H.M.L.A. (High Voltage Line Act). Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is a conflict the SHA Contractor is required to immediately notify Mr. Hensil and the SHA Project Engineer of the conflict.

Mr. William Hensil

(601)-725-7129

bill.hensil@peco-energy.com

- Baltimore Gas Electric Company-Gas.

BGE-Gas may have underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the Contractor(s) to verify underground facilities will not be impacted. The Contractor(s) will safely dig test holes to accurately locate utilities. If there is a conflict the Contractor is required to immediately notify Mr. Herbert and the SHA Project Engineer of the conflict. It will be the responsibility of the SHA Contractor to contact Mr. Joe Regan at (410) 470-6371, 4 weeks in advance to obtain replacement manhole frames and covers. The SHA contractor is responsible to replace all damaged frames and covers. BGE will adjust or replace any manhole frames and covers larger than 26 inches, however Mr. Joe Regan will need at least 6 weeks’ notice.

Mr. Barry Herbert

(410)-470-7925

Barry.HerbertJr@bge.com

- Verizon of Maryland.

Verizon may have aerial and underground facilities within the limits of this project that may not be impacted by the SHA project.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is a conflict the SHA Contractor is required to immediately notify Mr. Howard and the SHA Project Engineer of the conflict. The Contractor(s) are not to open and/or enter into any of Verizon’s manholes. It will be the responsibility of the Contractor to contact Mr. Blum, 6 weeks prior to paving to allow Verizon to adjust any manholes.

Mr. Brian Howard

(410)-403-1885

brian.c.blum@verizon.com

- Baltimore County Department of Public Works - Sewer.

Baltimore County Sewer may have facilities within the limits of this project. Conflicts are not anticipated. The SHA Contractor(s) shall exercise caution when working within the project limits.  Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is a conflict the SHA Contractor is required to notify Mr. Bayer and the SHA Project Engineer of the conflict location.

Mr. Dave Bayer

(410) 887-3783

dbayer@baltimorecountymd.gov

- Baltimore County Department of Public Works - Water.

Baltimore County Water may have facilities within the limits of this project. Conflicts are not anticipated. The SHA Contractor(s) shall exercise caution when working within the project limits.  Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is a conflict the SHA Contractor is required to notify Mr. Mazurek and SHA Project Engineer of the conflict location.

Mr. Mike Mazurek

(410) 887-3783

mmazurek@baltimorecountymd.gov

- Baltimore County ICBN Fiber.

Baltimore County ICBN Fiber may have facilities within the limits of this project that are not impacted by the SHA project. The SHA Contractor(s) shall exercise caution when within the project limits.  Prior to any excavation or guard rail installation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is a conflict the SHA Contractor is required to notify Mr. Stickline and the SHA Project Engineer immediately of the conflict location.

Mr. Scott Stickline

(410) 887-3443

sstickline@baltimorecountymd.gov

- Harford County Department of Public Works – Water & Sewer.

Harford County DPW may have facilities within the limits of this project. Conflicts are not anticipated. The SHA Contractor(s) shall exercise caution when working within the project limits.  Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is a conflict the SHA Contractor is required to notify Ms. Resh and SHA Project Engineer of the conflict location.

Ms. Belinda Resh

(410) 638-3300 x1463

blresh@harfordcountymd.gov

- Harford County ICBN Fiber.

Harford County ICBN Fiber may have facilities within the limits of this project that are not impacted by the SHA project. The SHA Contractor(s) shall exercise caution when within the project limits.  Prior to any excavation or guard rail installation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is a conflict the SHA Contractor is required to notify Mr. Brown and the SHA Project Engineer immediately of the conflict location.

Mr. Peter Brown

(410) 638-3213 x1290

pmbrown@harfordcountymd.gov

- CenturyLink.

CenturyLink may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Delos Reyes and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Delos Reyes to obtain replacement manhole frames and covers.  Mr. Delos Reyes will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Reynaldo Delos Reyes

(571) 386-8799

reynaldo.delosreyes@centurylink.com

- Armstrong Utilities.

Armstrong Utilities may have facilities within the limits of this project that may not be impacted by the SHA project. The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Coale and the SHA Project Engineer of the conflict within 4 hours of discovery.

Mr. Sam Coale

(410) 658-7257

scoale@agoc.com

- Comcast.

Comcast may have facilities within the limits of this project that may not be impacted by the SHA project. The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by safely digging test holes to accurately locate utilities.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Capps (Baltimore Co. East & Harford Co) or Mr. Holland (Baltimore Co. West) and the SHA Project Engineer of the conflict within 4 hours of discovery.

Mr. Allen Capps (Baltimore Co. East & Harford Co)

(410) 513-3253

allen_capps@cable.comcast.com

Mr. Phil Holland (Baltimore Co. West)

(410) 497-0232

phil_holland@cable.comcast.com

- Zayo Bandwidth.

Zayo Bandwidth may have facilities within the limits of this project. No conflicts are anticipated, however, the SHA Contractor(s) shall exercise caution when working within the project limits.  Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Schuele and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Slovick, to obtain replacement manhole frames and covers.  Mr. Schuele will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Doug Schuele

(443) 527-4399

doug.schuele@zayo.com

- Crown Castle.

Crown Castle may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Elmer and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Hayward to obtain replacement manhole frames and covers.  Mr. Hayward will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. David Hayward

(610) 567-7977

dhayward@sunesys.com

- Verizon Business.

Verizon Business may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Rice and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Rice to obtain replacement manhole frames and covers.  Mr. Rice will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Adam Rice

(703) 391-5767

adam.rice@verizonbusiness.com

- AT&T.

AT&T may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Wigfield and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Wigfield to obtain replacement manhole frames and covers.  Mr. Wigfield will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Gary Wigfield

(301) 874-1180

gwigfield@att.com

- Colonial Pipeline.

Colonial Pipeline may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Gross and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Gross to obtain replacement manhole frames and covers.  Mr. Gross will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Timothy Gross

(804) 672-3077

tgross@colpipe.com

- Columbia Gas.

Columbia Gas may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Redd and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Redd to obtain replacement manhole frames and covers.  Mr. Redd will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Antonio Redd

(703) 227-3304

aredd@nisource.com

- Amtrak (NRRP).

Amtrak may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Wurpel and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. Wurpel to obtain replacement manhole frames and covers.  Mr. Wurpel will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Mr. Mark Wurpel

(215) 349-1127

- CSX Transportation.

CSX Transportation may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Ms. Cope and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Ms. Cope to obtain replacement manhole frames and covers.  Ms. Cope will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Ms. Sharon Cope

(904) 279-6982

- Maryland DoIT.

Maryland DoIT may have facilities within the limits of this project.  No conflicts are anticipated, however, the SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation or guard rail installation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. McElligott and the SHA Project Engineer of the conflict within 4 hours of discovery. It will be the responsibility of the Contractor to contact Mr. McElligott to obtain replacement manhole frames and covers.  Mr. McElligott will need two weeks advance notice to adjust the larger manhole frames and covers and/or to replace defective frames and covers.

Denis McElligott

(410) 260-6125

denis.mcelligott@maryland.gov

- City of Aberdeen.

City of Aberdeen may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Torster and the SHA Project Engineer of the conflict within 4 hours of discovery.

Mr. Kyle Torster

(410) 272-1600 x217

ktorster@aberdeen.gov

- City of Havre De Grace.

City of Havre De Grace may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Whittie and the SHA Project Engineer of the conflict within 4 hours of discovery.

Mr. Timothy Whittie

(410) 939-1800 x1107

timw@havredegracemd.com

- Town of Bel Air.

Town of Bel Air may have facilities within the limits of this project.  Conflicts are not anticipated.  The SHA Contractor(s) shall exercise caution when working within the project limits. Prior to any excavation, it will be the responsibility of the SHA Contractor(s) to verify underground facilities are without impact, by hand digging test holes to accurately locate utilities as first order of business.  If there is an unknown utility conflict the SHA Contractor is required to notify Mr. Kline and the SHA Project Engineer of the conflict within 4 hours of discovery.

Mr. Steve Kline

(410) 638-4550

skline@belairmd.org

- The Maryland State Highway Administration.

The Administration has existing facilities within the limits of this project.  Relocations for anticipated conflicts are detailed in the Plans.  The relocations of the Contractor(s) shall exercise caution when working in their vicinity. All notifications to the Administration shall be given 72 hours (three full working days) in advance of working in the area of the specific affected facilities. The Contractor(s) are not to open and/or enter into any of the Administration’s facilities. It will be the responsibility of the Contractor(s) to also notify the Administration to locate and mark all Administration owned facilities including: street lights, sign lights, Administration traffic signals, Fiber Optic cables, Communication cables, and Intelligent Transportation System (ITS) devices.

Although SHA is now a member of MISS UTILITY, you still must contact the following Administration facilities contacts: (Contractor must call both)

SHA Street & Sign Lamps	SHA Fiber Optic and Communication Cables

District 4 Maintenance Engineer	Statewide Operations Center (SOC)

Mike Wetzel			1-(800)-543-2515

(410)-229-2366

SHA Traffic Signals		SHA Intelligent Transportation System (ITS)

Hanover Complex Signal Shop	*Communications Division:  (410)-747-8590

(410)-787-7652			*ITS Operations Section       (410)-787-7662

- When it is necessary to use steel plates at any point during construction, the following minimum requirements shall be met:

- Steel plates are to be no less than 1 in. thick.

- Steel plates are to cover access pit(s) with at least 1 ft. overlap onto existing pavement on all four sides of access pit(s).

- When only three sides overlap existing roadway, the fourth side shall be supported by a 12 in. x 12 in. I-Beam or timber.

- In cases where plates are used to cover extremely large excavations, it will be necessary to install an intermediate support system to prevent deflection.

- Steel plates must be pinned to prevent movement.

- When steel plates are not recessed, then steel plates must be ramped with cold patch or hot mix asphalt at the end of each work shift.

- It will be necessary to recess any steel plates that are placed in the roadway from October 1 through April 15.

- All roadway plates will need to be recessed where speed limit is 40 MPH or greater.

- In cases where two or more steel plates are placed together, they shall be welded together by placing at least three welds. One weld is placed no more than one foot from each edge and one is placed in the center of the plates.

- The SHA Contractor(s) will be restricted to no more than 50 feet of continues recess steel plating.  The SHA Contractor(s) must provide a written request to the Assistant District Engineer of Construction if steel plating greater than 50 feet is needed to perform daily operations.

- All notifications to the above utility companies and “Miss Utility” 1-800-257-7777 shall be given 48 hours (two full working days) in advance of working in the area of the specific affected utility.  The notification to “Miss Utility” is required whenever any excavating or similar work is to be performed. The Contractor must also notify the Administration to locate and mark all Administration owned facilities, street lights, sign lights, Administration traffic signals, Fiber Optic cables, Communication cables and Intelligent Transportation System (ITS) devices.  (For Administration owned facilities, see last contact(s) listed under (e).)

- If an adjustment is required to facilities, it is necessary that the existing facilities remain in service until the new construction is complete and placed in service.  Also, when adjustments are required, establishment of lead times are necessary to meet the applicable utility schedule and coordination with the Contractor’s work operation.

Make all adjustments to surface utility frames and covers, water valves, and water meters, as necessitated by the construction project.  The cost of these adjustments shall be incidental to the price bid for hot mixed asphalt surface as per the Invitation for Bids specifications or the various sidewalk, driveway and curb/gutter work unless the adjustment is twelve inches or more.  In these cases, the adjustment shall be paid for under the pertinent line item.  All adjustments shall be done according to the pertinent utility owners specifications.  Contact the pertinent utility owners prior to adjustment of any facility.  The contractor will request the utility to accept in writing all adjustments upon completion of work and arrange a field meeting between the utility, the contractor and the Administration project staff.

875.03.01 Contract Provision Buy America.

This section only applies to projects partially or totally financed with Federal funds.

The prime contractor or its subcontractors shall comply with Section 313 of title 23, U.S.C., 23 CFR Part 635.410 for iron and steel products and manufactured products, and 2 CFR part 184 for construction materials.

Materials used for the utility work and permanently incorporated into the project, including all materials/items supplied by the Utility Company, shall comply with the Buy America preference requirements including:

- All iron and steel used in the project are produced in the United States.

This means all manufacturing processes, from the initial melting stage through the application of coatings, occurred in the United States.

- All manufactured products used in the project are produced in the United States.

This means the manufactured product was manufactured in the United States, and the cost of the components of the manufactured product that are mined, produced, or manufactured in the United States is greater than 55 percent of the total cost of all components of the manufactured product, unless another standard for determining the minimum amount of domestic content of the manufactured product has been established under applicable law or regulation.

In accordance with 23 CFR Part 635.410, FHWA currently has a general applicability waiver on manufactured products that do not contain steel and iron components. Therefore, this 55 percent standard for manufactured products that do not contain steel and iron components, does not apply on projects funded under Title 23 U.S.C.

Per 2 CFR part 184, items that have been processed into a specific form and shape; or combined with other articles, materials, or supplies to create a product with different properties than the individual articles, materials, or supplies, should be considered as manufactured products, rather than as construction materials.

- All construction materials are manufactured in the United States.

This means that all manufacturing processes for the construction material occurred in the United States. Common construction materials used in public works infrastructure projects are or consist primarily of non-ferrous metals, plastic and polymer-based products (including polyvinylchloride, composite building materials, and polymers used in fiber optic cables), glass (including optic glass and drop cable), lumber, engineered wood, and drywall.

The term 'construction materials' shall not include cement and cementitious materials, aggregates such as stone, sand, or gravel, or aggregate binding agents (including asphalt cement) or additives; or any material composed of or derived from these items, per Section 70917(c) of the Bipartisan Infrastructure Law (BIL).

The prime contractor or its subcontractors shall also comply with Section 165 of the Surface Transportation Assistance Act of 1982 as amended by Section 1041(a) and 1048(a) of the intermodal Surface Transportation Efficiency Act of 1991 with regard to the furnishing and coating of iron and steel products.

The prime contractor or its subcontractor shall supply certifications to the Project Engineer from the manufacturer of all costing, iron or steel products which document that the steel and iron have been manufactured and the coatings for iron or steel have been applied by the manufacturer in the United States, as well as certification documenting the construction materials are made in America. The manufacturer’s certificate must identify where the material was produced and include a statement that specifically attests that the material complies with 23 CFR 635.410 for iron and steel products; or 2 CFR 184 for manufactured products and construction materials. The Project Engineer shall forward copies of the certifications to the Office of Materials Technology for review and approval prior to such items being incorporated into the permanent work.

Products manufactured of foreign steel or iron materials may be used, provided the cost of such products as they delivered to the project does not exceed 0.1% of the total contract amount or $2,500, whichever is greater. Foreign manufactured products and construction materials may be used, provided the cost of such products as they are delivered to the project is no more than the lesser of $1,000,000, or 5% of the total contract amount. If a supplier or fabricator wishes to user a partial fabrication process where domestic and foreign source components are assembled at a domestic location, the “as delivered cost” of the foreign components should include any transportation, assembly and testing costs required to install them in the final product. When foreign products or materials are permanently incorporated into the project, the contractor must provide documentation detailing the foreign material costs and justification.

A public interest waiver from USDOT has waived Buy America requirements for projects with iron, steel, manufactured products, and construction materials, that are under a single Federal financial assistance award or subaward for which the total project amount is below $500,000.

This applies to all iron and steel products, manufactured products, and construction materials used for utility work permanently incorporated into the project including materials/items supplied by the Utility Company.

875.04 MEASUREMENT AND PAYMENT

All work, methods and procedures required for utility relocations, working around or protecting utility facilities, and coordinating with utility agencies, or their contractors, will not be measured for payment.  This work will be considered incidental to the items specified in the Contract Documents.