CATEGORY 875

UTILITIES

SECTION 875 — UTILITIES STATEMENT

875.01 DESCRIPTION

The Contractor’s attention is called to the requirements of Sections GP-5.05, GP-7.13 and

GP-7.17.

875.02 MATERIALS

875.03 CONSTRUCTION

- Locate all existing utilities and be responsible for their safety.  Exercise special care and extreme caution to protect and avoid damage to utility facilities.  Should any existing utilities be damaged or destroyed due to the operations of the Contractor, the damaged or destroyed components shall be immediately replaced or repaired as necessary to restore the utility to a satisfactory operating condition.  These repairs or replacements shall be at no additional expense to the Administration or the owner of the utility.

- The existing utilities requiring relocation or adjustment shall be relocated or adjusted by the agency responsible for their maintenance or by the owner of the utility unless otherwise indicated in the Contract Documents.  Inform the respective Utility, immediately upon discovering the condition(s).  In addition, give sufficient notice to the specific Utility of the Contractor’s overall plan for construction.  The Contractor and Utility Company will coordinate the applicable Utility work with the Contractor’s work operations based upon the Contractor’s overall plan.

875.04 MEASUREMENT AND PAYMENT

All work, methods and procedures required for utility relocations, working around or protecting utility facilities, and coordinating with utility agencies, or their contractors, will not be measured for payment.  This work will be considered incidental to the items specified in the Contract Documents.

875.04.01 Contract Provision Buy America.  This section only applies to projects partially or totally financed with Federal funds.

Materials used for the utility work and permanently incorporated into the project, including all materials and products supplied by the Utility Company, shall comply with the Buy America preference requirements in accordance with 23 U.S.C. 313 and 23 CFR 635.410 for iron or steel products and manufactured products, and 2 CFR part 184 for construction materials.