Category 875

Utilities

SECTION 875 — UTILITIES STATEMENT

875.01 DESCRIPTION

The Contractor’s attention is called to the requirements of Sections GP-5.05, GP-7.13 and

GP-7.17.

875.02 MATERIALS

Not Applicable.

875.03 CONSTRUCTION

- Attention of the Contractor is directed to the possible presence of water, sewer, gas mains, electrical wires, conduit, communications cables (both overhead and underground), poles and house service connections in the street or highway in which the construction project is to be performed.  Exercise special care and extreme caution to protect and avoid damage to utility company facilities as described in the preceding sentence.  Take into consideration the adjustments and installations by public utilities in areas within the limits of this Contract.

All notifications to the utility companies and “Miss Utility” shall be, at least, 48 hours (two full working days) in advance of working in the area of the specific affected utility. The notification to “Miss Utility” is required by the Contractor whenever any excavating or similar work is to be performed. The State Highway Administration (SHA) is now part of Miss Utility.  Please note our new notification procedures.  The contractor must provide the contract number when contacting Miss Utility for locates.  This provision is required whether the contractor contacts Miss Utility via the internet (http://www.missutility.net.itics/) or by phone [1-(800)-257-7777].  Failure of the contractor to comply with this requirement may result in a locate fee by Administration for which the contractor will not be allowed to recover.   The Contractor must also notify the Administration to locate and mark all Administration owned facilities including: street lights, sign lights, Administration Traffic Signals, Fiber Optic Cables, Communication Cables and Intelligent Transportation System (ITS) devices.  (For Administration owned facilities, see last contact(s) listed under (e).)

- Locate all existing utilities and be responsible for their safety.  Should any existing utilities be damaged or destroyed due to the operations of the Contractor, the damaged or destroyed components shall be immediately replaced or repaired as necessary to restore the utility to a satisfactory operating condition.  These repairs or replacements shall be at no additional expense to the Administration or the owner of the utility.

- The following District Utility Engineers may be contacted for any Utility related concerns  within the limits of this Contract.

- D1: Milan Shah, telephone 410-677-4095 or email mshah1@mdot.maryland.gov

- D2: John Anderson, telephone 410-810-3275 or email janderson1@mdot.maryland.gov

- D3: Mark Loeffler, telephone 301-513-7353 or email mloeffler@mdot.maryland.gov

- D4: John Vananzo, telephone 410-229-2341 or email jvananzo@mdot.maryland.gov

- D5: Trent Cargile, telephone 410-841-1039 or email tcargile@mdot.maryland.gov

- D6: Dave Felker, telephone 301-729-8439 or email dfelker@mdot.maryland.gov

- D7: Anthony Cregger , telephone301-624-8122 or email acregger @mdot.maryland.gov

- The Maryland State Highway Administration.

The Administration has existing facilities within the limits of this project.  Relocations for anticipated conflicts are detailed in the Plans.  The relocations of The Contractor(s) shall exercise caution when working in their vicinity. All notifications to the Administration shall be given 72 hours (three full working days) in advance of working in the area of the specific affected facilities. The Contractor(s) are not to open and/or enter into any of the Administration’s facilities. It will be the responsibility of the Contractor(s) to also notify the Administration to locate and mark all Administration owned facilities including: street lights, sign lights, Administration traffic signals, Fiber Optic cables, Communication cables, and Intelligent Transportation System (ITS) devices.

Although SHA is now a member of MISS UTILITY, you still must contact the following Administration facilities contacts: (Contractor must call both)

SHA Street & Sign Lamps	SHA Fiber Optic and Communication Cables

District 4 Maintenance Engineer	Statewide Operations Center (SOC)

Mike Wetzel			1-(800)-543-2515

(410)-229-2366

SHA Traffic Signals		SHA Intelligent Transportation System (ITS)

Hanover Complex Signal Shop	*Communications Division: (410)-747-8590

(410)-787-7652			*ITS Operations Section: (410)-787-7662

- When it is necessary to use steel plates at any point during construction, the following minimum requirements shall be met:

(1) Steel plates are to be no less than 1 in. thick.

(2) Steel plates are to cover access pit(s) with at least 1 ft. overlap onto existing pavement on all four sides of access pit(s).

(3) When only three sides overlap existing roadway, the fourth side shall be supported by a 12 in. x 12 in. I-Beam or timber.

(4) In cases where plates are used to cover extremely large excavations, it will be necessary to install an intermediate support system to prevent deflection.

(5) Steel plates must be pinned to prevent movement.

(6) When steel plates are not recessed, then steel plates must be ramped with cold patch or hot mix asphalt at the end of each work shift.

(7) It will be necessary to recess any steel plates that are placed in the roadway from October 1 through April 15.

(8) All roadway plates will need to be recessed where speed limit is 40 MPH or greater.

(9) In cases where two or more steel plates are placed together, they shall be welded together by placing at least three welds. One weld is placed no more than one foot from each edge and one is placed in the center of the plates.

(10) The SHA Contractor(s) will be restricted to no more than 50 feet of continues recess steel plating.  The SHA Contractor(s) must provide a written request to the Assistant District Engineer of Construction if steel plating greater than 50 feet is needed to perform daily operations.

- All notifications to the above utility companies and “Miss Utility” 1-800-257-7777 shall be given 48 hours (two full working days) in advance of working in the area of the specific affected utility.  The notification to “Miss Utility” is required whenever any excavating or similar work is to be performed. The Contractor must also notify the Administration to locate and mark all Administration owned facilities, street lights, sign lights, Administration traffic signals, Fiber Optic cables, Communication cables and Intelligent Transportation System (ITS) devices.  (For Administration owned facilities, see last contact(s) listed under (e).)

- If an adjustment is required to facilities, it is necessary that the existing facilities remain in service until the new construction is complete and placed in service.  Also, when adjustments are required, establishment of lead times are necessary to meet the applicable utility schedule and coordination with the Contractor’s work operation.

Make all adjustments to surface utility frames and covers, water valves, and water meters, as necessitated by the construction project.  The cost of these adjustments shall be incidental to the price bid for hot mixed asphalt surface as per the Invitation for Bids specifications or the various sidewalk, driveway and curb/gutter work unless the adjustment is twelve inches or more.  In these cases, the adjustment shall be paid for under the pertinent line item.  All adjustments shall be done according to the pertinent utility owners specifications.  Contact the pertinent utility owners prior to adjustment of any facility.  The contractor will request the utility to accept in writing all adjustments upon completion of work and arrange a field meeting between the utility, the contractor and the Administration project staff.

875.03.01 Contract Provision Buy America.

This section only applies to projects partially or totally financed with Federal funds.

Materials used for the utility work and permanently incorporated into the project, including all materials and products supplied by the Utility Company, shall comply with the Buy America preference requirements in accordance with 23 U.S.C. 313 and 23 CFR 635.410 for iron or steel products and manufactured products, and 2 CFR part 184 for construction materials.

875.04 MEASUREMENT AND PAYMENT

All work, methods and procedures required for utility relocations, working around or protecting utility facilities, and coordinating with utility agencies, or their contractors, will not be measured for payment.  This work will be considered incidental to the items specified in the Contract Documents.