NOTICE TO CONTRACTOR

GENERAL PERMIT FOR STORMWATER DISCHARGE

ASSOCIATED WITH CONSTRUCTION ACTIVITY

General NPDES Permit Number MDRC0000

State Discharge Permit Number 20CP0000A

For projects or sites with a limit of disturbance (LOD) of 1 acre or more, permit coverage under the Maryland Department of the Environment (MDE) General Permit for Stormwater Discharge Associated with Construction Activity, often referred to as 20-CP, is required.

Pursuant to Part I.B.1.a. and b. of the permit, all operators must obtain coverage, specified as follows.  For the purposes of coverage, both the Administration and Contractors are operators.

The Administration will prepare and submit two Notice of Intent (NOI) applications for coverage to MDE on behalf of each operator for each eligible site on IDIQ	 contracts. Permits for each operator must be issued prior to the initial erosion and sediment control (ESC) Field Meeting and before earth disturbance may begin.

Signatory.  The Signatory for the Contractor is responsible for accepting the permit, uploading all necessary documentation, and keeping the permit current, and shall meet the requirements pursuant to Part II.A.8.a. and b. of the permit.

Both the Administration and the Contractor are responsible for uploading approved revisions to the plans, issued approvals of those changes, and the Stormwater Pollution Prevention Plan (SWPPP) for their respective permits.

Failure of the Contractor to accept the transferred permit will not be the basis for delaying the issuance of the Notice to Proceed or be considered a reason for a time extension.

The Contractor shall continue to provide all associated reports specified in the Contract Documents to the Engineer and the Administration will continue to upload said reports to the MDE ePermits Portal for the Administration’s permit.

The Contractor shall make no changes to their permit without permission and direction from the Administration. The Contractor shall not make changes solely through MDE.  The Contractor is not authorized to change the approved plans or submit plan changes via the MDE portal; refer to Section 308 regarding QA Toolkit mods.

Additional Permit Coverage Requirements.  Pursuant to Part I.C.1.c. and d. of the permit, coordination with the Administration is required to ensure the Contractor’s permit coverage is complete for locations and activities not part of the Contract Documents, specifically in relation to staging areas, stockpile areas, and other locations and activities for which local jurisdictional approvals and permits are required for the completion of the Contract.

Requiring an Individual Permit or an Alternative General Permit.  Pursuant to Part I.E.1. of the permit, the MDE may require separate permit coverage for discharges that would otherwise be eligible for coverage under the permit for the Contract as it relates to portable batch plants.

It is the Contractor’s responsibility to ensure portable batch plants have adequate and appropriate permit coverage.  Failure of the Contractor to obtain pertinent permit coverage will not be the basis for delays or claims.