MDOT STATE HIGHWAY ADMINISTRATION – PLAN REVIEW DIVISION

Concept ESC/SWM Plan Submission Review List

Administrative Requirements – Electronic Copies of the following in pdf format

|  | Concept Plan |  |
| --- | --- | --- |
|  | Concept Report/Narrative |  |
|  | Application for Sediment Control/Stormwater Management Plan Approval |  |
|  | Latest review comments and responses to comments in Excel format |  |

Plan/Report Requirements

(Refer to pages 5.5 through 5.11 of the SWM Design Manual and A-14 through A-16 of ESC Standards and Specifications)

| All items listed in Sediment and Stormwater Guidelines Section 7.4.A & D. |  |
| --- | --- |
| Title Sheet with revision dates (or IFB for Book Jobs) |  |
| Plan scale of 1” = 100’ minimum |  |
| Site location |  |
| Property boundaries, existing and proposed R/W & easements |  |
| Existing site & resource mapping |  |
| Wetlands and waterways |  |
| Major waterways |  |
| Floodplains |  |
| Tidal and non-tidal wetlands |  |
| Wetlands of special state concern |  |
| Wetland buffers |  |
| Stream buffers |  |
| Forest buffers |  |
| Critical areas |  |
| Steep slopes greater than 20% |  |
| Slopes steeper than 15% |  |
| Highly erodible soils |  |
| Topography/slopes |  |
| Springs |  |
| Seeps |  |
| Drainage depressions |  |
| Vegetative cover |  |
| Soils |  |
| Bedrock/geology |  |
| Existing drainage areas |  |
| Existing drainage facilities |  |
| Aerial Mapping |  |
| Existing impervious areas |  |
| Proposed impervious areas |  |
| Proposed Limit of Disturbance |  |
| Existing and proposed utility locations |  |
| Preliminary estimates of stormwater requirements |  |
| Selection and location of proposed ESD practices including preliminary grading |  |
| Drainage area mapping with location of points of discharge (roll mapping acceptable) |  |
| Erosion & Sediment Control and Stormwater Management narrative to achieve: |  |
| Natural resource protection and enhancement |  |
| Maintenance of natural flow patterns |  |
| Outfall stability assessment and photos for all POI’s |  |
| Reduction in impervious areas through better site design, alternative surfaces, and nonstructural practices |  |
| Integration of erosion and sediment controls into the stormwater strategy |  |
| Implementation of ESD planning techniques and practices to the MEP |  |
| Narrative to include: |  |
| General description of the predominant soil types |  |
| Proposed use of any waivers and/or variances |  |
| Total Maximum Daily Load (TMDL) for Impaired Waters |  |
| Tier II streams |  |
|  | Use III and IV streams-discuss how thermal impacts will be addressed |
|  | ESD to MEP Implementation |
|  | Need and justification for waivers or variances for each POI/LOI |
| SWM report cover signed and sealed by the professional engineer in charge of the design |  |
| Signed WQSS |  |
| Waivers and Variances (if applicable) |  |

Items missing should be discussed in the narrative.