MDOT STATE HIGHWAY ADMINISTRATION – PLAN REVIEW DIVISION

Site Development ESC/SWM Plan Submission Review List

Administrative Requirements – Electronic Copies of the following in pdf format

Site Development Plan

Site Development Report

Application for Sediment Control/Stormwater Management Plan Approval

Latest review comments and responses to comments in Excel format

Plan/Map Requirements

(Refer to page 5.11 through 5.15 of SWM Design Manual and page A-14 through A-16 of ESC Standards & Specifications)

| All items listed in Sediment and Stormwater Guidelines Section 7.4.B, D & E. |  |
| --- | --- |
| Title Sheet w/graphic scale and revision date |  |
| Vicinity Map |  |
| Location Map |  |
| Existing site & resource mapping as listed on the Concept Plan requirements |  |
| SWM Plan with layout of proposed improvements |  |
| Property boundaries, Easements & R/W |  |
| Structural and construction details for Storm drains, open drainage, and SWM facilities including profile, x-sections, showing existing and proposed ground profiles, utilities and soils data etc. |  |
| Construction specifications (non-standard specifications only) |  |
| E&SC plan with interim & final grading , phasing, stabilization, sediment control measures and clear water diversions |  |
| E&SC plan overlay of ESD types and locations |  |
| Sequence of Construction for E&SC and SWM. The sequence of construction should allow the contractor as much flexibility in construction as possible without diminishing the effectiveness of the ESC plan. |  |
| Notification of MDOT SHA’s QA Program |  |
| Clearing and grubbing for perimeter E&SC |  |
| Installation of perimeter E&SC |  |
| Clearing, grubbing and rough grading |  |
| Construction (indicate allowable concurrent activities clearly) |  |
| Final grading |  |
| Vegetative stabilization |  |
|  | Installation of stormwater management practices |
|  | Any MDOT SHA/QA approval required during construction (for means and methods best chosen by the contractor yet requiring approval prior to construction) |
|  | Stabilization of disturbed areas from removal of E&SC |
| Planting Plan |  |
| Planting schedule for SWM facilities |  |
| Standard MDOT SHA maintenance note on title sheet |  |
| Maintenance access paths for BMPs |  |
| Owner’s certification |  |
| Engineer’s certification |  |
| As-built certification block |  |
| Additional protective measures for impaired waters |  |
| BMP and ESD As-built tabulations |  |
| Copy of AASCD/CAC submissions and comment letters, including computations (if applicable) |  |
| Copy of Dam Safety/Small Pond submission to MDE and MDE comment letters |  |
| General Note Sheet, Full set of Plans |  |
| For non-book jobs: PDF of Draft IFB (draft TOC, Category 300 SP’s and SPI’s, Required Permits) For book jobs: include all items above plus pdf of construction exhibits |  |

Report Requirements

| SWM report cover signed and sealed by the professional engineer in charge of the design |  |  |
| --- | --- | --- |
| Letter sized paper |  |  |
| Typed report with handwritten computations allowed |  |  |
| Any maps, diagrams or figures (roll maps acceptable) |  |  |
| Title sheet |  |  |
| Table of contents |  |  |
| List of figures or tables |  |  |
| Body of report |  |  |
| Introduction |  |  |
|  | Methodologies used |  |
|  | Narrative – include discussion of how the design impacts environmental features on or adjacent to the site (wetlands, floodplains, thermal impacts for Use III and IV streams, etc.) |  |
|  | Analysis |  |
|  | Summary and conclusions (Include ESD to MEP discussion & Justification for variance/waiver) |  |
| Appendices |  |  |
| Site impervious area plan |  |  |
| Drainage area plan |  |  |
|  |  | Drainage boundaries |
|  |  | Area to SWM practices |
|  |  | Area to discharge points |
|  |  | Soil types |
|  |  | Ground cover |
|  |  | Land uses |
|  |  | POI |
|  |  | Tc Paths |
| TR-55 worksheets |  |  |
| Hydraulic computations |  |  |
| TR-20 analysis |  |  |
| Spillway Computations |  |  |
| Geotechnical data for SWM design |  |  |
| Downstream information supporting analysis of downstream impacts: To downstream tributary whose drainage area equals or exceeds the contributing area to the BMP; or To downstream point where the flow rate is a minimum of twice the discharge rate from the BMP |  |  |
| Hydrologic computations for ESD and BMP |  |  |
| Unified sizing criteria computations |  |  |
| Stormwater volume computations for ESD and BMP |  |  |
| Hydraulic computations for ESD and BMP |  |  |
| Small Pond flow chart for each facility (SWM & ESC) |  |  |
| Outfall assessment sheets at each POI |  |  |
| Velocity & outfall protection computations including 2, 10, and design year storm events |  |  |
| Signed WQSS |  |  |
| Waivers and Variances (if applicable) |  |  |
| Compensatory SWM |  |  |
| Small pond summary sheets (If applicable) |  |  |

Items missing should be discussed in the narrative.